## North Eastern Electric Power Co
# | Category | Description/ Specification
1 | Services | Repair of HOT parts for CIBI of GTG #5
2 | Services | Repair of HOT parts for CIBI of GTG #6
3 | Services | Chemical treatment of CW water system round the year
4 | Services | Condenser cleaning by chemical circulation and hydro jetting.
5 | Services | Valve servicing in situ:
6 | Services | Condenser water box coating
7 | Products | CW pump impeller coating
8 | Products | Emergency Machining works
9 | Products | Coating of DM water storage tank ( 2nd one)
10 | Services | Insulation renovation
11 | Services | Service charge of Steam Turbine MI
12 | Products | Procurement, Installation & commissioning of AGC
13 | Products | Procurement, Installation of high accuracy Gas flow meters in GTs
14 | Services | Repairing & new making charges as per sample
15 | Services | Internal Electrification works
16 | Products | MVCC cable erection works for 11 KV intake line
17 | Products | 11 KV intake line pole erection
18 | Services | Renovation of CO2 flooding system of two units
19 | Services | Repairing/ renovation of existing underground hydrant & emulsifier pipe lines of AGBPS
20 | Services | Rectification and repairing & automation of Emulsifier system of AGBPS
21 | Products | Sewage treatment plant of AGBPS
22 | Products | Inert gas flooding system of CCR
23 | Services | Renovation and Modernization Work of Steam Turbine Building at Plant area of AGBPS, NEEPCO , Bokuloni.
24 | Services | Repairing and Restrengthening of Cooling Tower at Plant area of AGBPS, NEEPCO , Bokuloni.
25 | Services | Renovation Gas Turbine Building at Plant area of AGBPS, NEEPCO , Bokuloni.
26 | Services | Renovation of Effluent Treatment Plant at Plant area of AGBPS, NEEPCO, Bokuloni
27 | Services | Painting of Eposed portion of Raw Water pipe line from AGBPS to Intake Pump House and Structural material of Digboi River Bridge Crossing SW Pipe of AGBPS, NEEPCO, Bokuloni
28 | Services | Renovation of Clarified Water Storage Tank at Plant area of AGBPS, NEEPCO, Bokuloni
29 | Products | Supply and application of Chemical coating for protective internal lining in degasser Tower No.1 of DM Plant and Chemical coating of sulphuric Acid storage tank pedstal and Floor near chlorination Plant at Plant area of AGBPS, NEEPCO , Bokuloni
30 | Services | Construction of foundation of railroad for storage of 1(one)Bhel Make three phases,50 MVA,11/234 VK Generator Transformer at plant area AGBPS Neepco ltd . Bokuloni.
31 | Services | Extension of railroad for shifting of 1(one)Bhel Make three phases,50 MVA,11/234 VK Generator Transformer
32 | Services | Painting of Transformer of STG # 9 at plant area of AGBPS, NEEPCO, Bokuloni
33 | Services | Repairing & painting (Inside) of Administrative Building at plant area of AGBPS, NEEPCO, Bokuloni
34 | Services | PCC work in front of PT Building, repairing of Transformer Yard near Electrical Bay at plant area of AGBPS, NEEPCO, Bokuloni
35 | Services | Painting of Staircase crossing Bus Duct of Transformer No. 7, 8, 9 at 9.00 M Elevation at fitting, fixing Railing CW forbay and Grattings CWS at plant area of AGBPS, NEEPCO, Bokuloni
36 | Services | Repairing and Painting of Raw Water Pump House at plant area of AGBPS, NEEPCO, Bokuloni
37 | Services | Cleaning of Weeds and Mud, Vegetation from Raw Water Reservoir at plant area of AGBPS, NEEPCO, Bokuloni
38 | Services | Cleaning of desilting Basin No. 1 & 2 at plant area of AGBPS, NEEPCO, Bokuloni
39 | Services | Making Shed Duct Pipe to prevent Water of GTG Transformer No. 5 at plant area of AGBPS, NEEPCO, Bokuloni
40 | Services | Making Shed Over Floor Standing Tower A.C.(Outdoor Unit) 8 ton Capacity at plant area of AGBPS, NEEPCO, Bokuloni
41 | Services | Miscellaneous works of Plant area
42 | Services | Repairing of Residential Quarters at AGBPS Colony.
43 | Services | Repairing of Non Residential Buildings at AGBPS Colony.
44 | Services | Repairing of Roads works of Plant & Colony area of AGBPS
45 | Services | Miscellaneous works of Colony area of AGBPS
46 | Products | Spares for Combustion & Bore-Inspection (CIBI of GTG U#5
47 | Products | Spares for Combustion & Bore-Inspection (CIBI of GTG U#6
48 | Products | Lube oil for GTG
49 | Products | Waukesha Gas Engine spares and TEO spares for GE Unit # 1-4
50 | Products | Dresser-Rand Gas Compressors spares
51 | Products | Ingersoll rand Air Compressors spares
52 | Products | Auxiliary spares for Gas Booster stations (After Filter, Fuel Gas Filters etc)
53 | Products | Shell Myshella S5N for Waukesha Gas Engines at Gas Booster station
54 | Products | Servo Press C-220 grade lube oil for Gas compressrs
55 | Products | Servo system C-220 grade lube oil for instrument air compressrs
56 | Products | Nalcool-2000 for GBS Units
57 | Products | Spares for Metro-Flax Whalco make Diverter Dampers
58 | Products | Spares for Kirloskar make Central Air Compressors
59 | Products | Spares for HMT make lathe machines, surface grinder
60 | Products | Procurement of spares for ETP
61 | Products | Proocurement of spares for Cummin's make 950 & 250 KVA EDGs
62 | Products | Spares for Protection system upgradation of MELCO GTG, 415 V Aux. system etc.
63 | Products | Spares for BHEL Generators of GTG # 5 & 6
64 | Products | Spares for MELCO Generators of GTG # 3 & 4
65 | Products | IBR valves from BHEL (For STG)
66 | Services | Technical Advisory Services for CIBI of GTG #5
67 | Services | Technical Advisory Services for CIBI of GTG #6
68 | Services | Technical Advisory Services for Turbine Inspection of GTG # 3
69 | Services | Major inspection of GTG U # 1
70 | Services | Services for Waukesha Gas Engines (Need and call basis)
71 | Services | Services of Dresser Rand gas Compressors
72 | Services | Services fr Ingersoll Rand air compressors at GBS
73 | Services | AMC Services of OTIS lift
74 | Services | AMC Services of Cummins make EDGs
75 | Services | AMC Services of Blue star make Central Air Conditining plant
76 | Services | Technical advisory services f BHEL generator
77 | Services | Technical advisory services f MELCO generator
78 | Services | AMC services of 245 KV SF6 CB
79 | Products | Tools and plants, other consumables for GTG
80 | Products | General tools and equipments for Gas BoosterStation
81 | Products | General cnsumables including markin cloth for Gas booster station
82 | Products | Procurement of Inlet Air Filters for Gas Turbines
83 | Products | Procurement of spares for Public Address (PA) sysytem
84 | Products | Ductable AC for LCR
85 | Products | General tools and equipments for Station Facilities Cmplex
86 | Products | Consumables for Station Facilities Cmplex
87 | Products | 125 V /24 V /220 V battery bank and battery charger of DC system
88 | Products | 245 KV SF6 Isolator for 14 nos. of bay
89 | Products | Replacement of LA as per IEC standard for 14 nos. of bay
90 | Products | Energy efficient motors under PEM
91 | Products | Two nos. of Intake pump. Under STG
92 | Products | Cooling Tower spares under STG
93 | Products | Misc valves for replacement under STG
94 | Products | Paints and acessories for STG
95 | Products | Bearings of drives (apart from turbine bearing) under STG
96 | Products | Unseen emergency spares ( including consumables) under STG
97 | Products | CPVC pipes and fitting under STG
98 | Products | Spares for ACW/CW (Sleeve and rubber bearing) under STG
99 | Products | ANTI corrosive pumps for STG
100 | Products | Tools and variouse lab instruments under STG
101 | Products | Custom designed MSRL pipe and fittings for STG
102 | Products | Anti corrosive coating at DM plant.
103 | Products | Stoplick gland packing for STG
104 | Products | Chlorination plant spares & piping under STG
105 | Products | consumable items including fastenners, paints for STG
106 | Products | SDP under STG
107 | Products | variouse pumps for STG
108 | Products | water line valves for STG
109 | Products | Cooling tower riser valves for STG
110 | Products | Dozing pumps spares and new pumps under STG
111 | Products | measuring tools for STG
112 | Products | Lab instrument for STG
113 | Products | Weighing machine for STG
114 | Products | Hydrochloric acid ( one year consumption)
115 | Products | Sodium Hydroxide
116 | Products | Liquid Chlorine
117 | Products | Alum
118 | Products | Hydrazine:
119 | Products | Poley eectrolyte:
120 | Products | Lab Chemicals
121 | Products | Sulfuric acid
122 | Products | Field Instruments (Exhaust/ Wheel space TC, Flame detector, Ignition system, Pr transmitter /gauges) etc
123 | Products | Actuators & Spares of STG
124 | Products | Pressure/Temperature transmitter/gauges etc
125 | Products | Drum, Deaerator, Hotwell level transmitter & Switches of STG
126 | Products | STG Control desk recorder.
127 | Products | Temp/pressure Switches, Solenoid etc
128 | Products | Master gauges & Instruments for C&I lab
129 | Products | procurement of Tools & tackls
130 | Products | Markin Cloth, CRC, Roustoline, Pen oil, PVC/ taflon tape, LUG, battery 9V/1.5 V etc
131 | Products | Actuator Oil & Grease etc for C&I
132 | Products | Analyser reagents & spares etc
133 | Products | Instruments & sensor for water circuit
134 | Products | Procurement of PPE
135 | Products | Procurement of new Fire Extinguishers & Fire fighting assessories
136 | Products | Ceiling fan for Utility Wing
137 | Products | Electrical items for Utility
138 | Products | 11 KV,MVCC cable
139 | Products | Water Supply materials
140 | Products | Sanitary materials
141 | Products | Procurement of weedicides to control weeds at colony and plant area
142 | Products | Hardware Materials for Civil wings
143 | Products | Misc.Items Civil Winhg
144 | Products | Consumable for IT wing
145 | Products | Misc. Works of Civil Wing
146 | Products | DCS & Governor upgradation of module-2
147 | Products | SWAS system up gradation, module-2
148 | Products | Water Supply Materials
149 | Products | Sanitary materials
150 | Products | Misc. Item ( for hardware and others misc. items)
151 | Services | AMC and Contract during Gas Turbine maintenance
152 | Services | AMC under Station facilities Cmplex
153 | Services | AMC services for STG
154 | Services | AMC contract of C&I
155 | Services | AMC contract of PEM
156 | Services | AMC of fire protection and detection system
157 | Services | AMC for all departmental AC servicing
158 | Services | AMC for Hydra crane
159 | Services | AMC WORKS of CWC , AGBPS
160 | Services | AMC for Cleaning and Maintenance of Approach Channel as well as both the wells of the Intake well located at Intake and Bridge site , Fakial Ghat , Joypure , AGBPS
161 | Products | Field Instruments (RTD/TC blade path/disc cavity, Flame detector, Ignition system, Pr transmitter /gauges etc
162 | Products | Controller, HMI etc
163 | Products | Governor upgradation GT 1&2
164 | Products | Governor upgradation GT#5 & 6
165 | Products | Control Valves & Spares of STG
166 | Products | Spares for Governor of STG-1
167 | Services | Service support for DCS
168 | Products | CONTROL VALVES for GBS
169 | Services | Services for GBS
170 | Services | Hiring Charge of C&I expert
171 | Products | Refiling of Fire Extinguishers
172 | Products | Misc Materials
173 | Products | Cement
174 | Products | Water Supply Materials
175 | Products | Sanitary materials
176 | Services | Testing of Sludge, discharge water, stack monitoring, potable water of the plant
177 | Products | Calibration of Instruments of C&I lab
178 | Services | AMC of CUMMIN make Diesel pumps of FWPH
179 | Services | Statutory testing of all tifting tools, takles, pressure vessels of AGBPS
180 | Services | Repairing of roads in Colony
181 | Services | Rise of boundary wall of Colony
182 | Services | Pavers on footpath ( remaining portion)
183 | Services | Repairing of garages
184 | Services | Tiles work in B type and C type Qtrs
185 | Services | Guest house painting
186 | Services | Colony drains
187 | Services | Approach in different location of Colony
188 | Services | Roof treatment of different buildings
189 | Services | Repairing of road in Plant area
190 | Services | Repairing of boundary wall
191 | Services | Repairing and painting of DM Plant and Pump House building
192 | Services | Repairing and painting of Adm Building
193 | Services | Roof treatment and repairing of Finance building
194 | Services | Construction/ repairing of Drain in plant area
195 | Services | Exterior Repairing and painting of A type building
196 | Services | Regular maintenance works including greenery , minor repair etc
197 | Services | Construction of a chamber in Plant area.
198 | Services | Water system -CPVC network , Colony
199 | Services | Providing and fixing of roof top PVC tankin A type qtrs.
200 | Services | Repairing of kitchen in Security barrack
201 | Services | Bamboo walling and ceiling in NRC and Power house conference room
202 | Services | Maintenance of purifiers
203 | Services | Grouting of GT foundation #3
204 | Services | Conduction of water audit
205 | Products | Procurement of Valves and actuator and boiler tubes (spool pieces)and Scrubber for HRSG
206 | Products | Procurement of Spares for Mark _Vie
207 | Products | Procurement of Sapres for inspection of STG Generator
208 | Products | Procurement of Generator Bearing with Acessories
209 | Services | HMI upgradation of Mark Vie
210 | Services | upgradation of GCP
211 | Services | Emergency services may be required from OEM /OES of Gas Turbine
212 | Services | Servicing of Atlas Copco make Air Compressor.
213 | Services | Servicing of Air dryer
214 | Services | Servicing of STG lube oil system
215 | Services | Servicing of Alfa level Centrifuse Oil cleaning system
216 | Services | Servicing of Damper for U#3
217 | Services | renewal of Boiler registration Certificate
218 | Services | Servicing of ACC.
219 | Services | Servicing of 132 KV CB
220 | Products | overhauling of 500 KVA EDG
221 | Services | Repairing of Generator excitor
222 | Products | Procurement of iinlet Air filter element
223 | Products | procurement ofSpares for EOT crane
224 | Products | Procurement of 100mm GI pipe & fittings
225 | Products | procurement of spares for HGPI of Gas Turbine U#2
226 | Products | procurement of oil mist seperator Filter
227 | Products | Procurement of Gastra make Swing Valve for Oil mist separator
228 | Products | Procurement of Spares for MI of U#4
229 | Products | Procurement of spares for Turbine oil filter machine
230 | Products | Spares for Atlas Copco make Air compressor
231 | Products | Spares for Air dryer
232 | Products | Procurement of spares for Air cooled Condender.
233 | Products | Procurement of Spares for Voith coupling .
234 | Products | Procurement of oil and grease
235 | Products | Procurement of various motors
236 | Products | Procurement of ACT pipes
237 | Products | Procurement of Bulk chemical
238 | Products | Procurement of Process Chemicals
239 | Products | Procurement of Lab instruments
240 | Products | Procurement of MSRL pipe for DM plant
241 | Products | Procurement of Resins and other s
242 | Products | 125 V battery bank
243 | Products | spares for VCB
244 | Products | Spares for HT panel
245 | Products | Spaes for LT panel
246 | Products | Upgradation & procurement of 132 KV isolator
247 | Products | VFD module supply and ITC
248 | Products | Supply of new CEMS panel
249 | Products | Procurement of spares for TMR
250 | Products | Procurement of Spares for DCS
251 | Products | Tools & C&I Lab equipments
252 | Products | Procurement of 132 KV CT& CVT
253 | Products | SCADA
254 | Products | Procurement of AC
255 | Products | Procurement Spares for A.C
256 | Products | Procurement of Electrical items
257 | Products | Procurement of LED light
258 | Products | Procurement stationeries
259 | Products | Procurement of consumbale for IT like Catridge ,tonner etc.
260 | Products | Procurement of chemical for Drinking water
261 | Products | Procurement of Play & Gym Equipment
262 | Products | Procurement of supply and Sanitation fittings
263 | Products | Procurement of Pipes & accssories for upgradation of Fire fighting System
264 | Services | serviceing of overhauling of starting Engine of GT
265 | Services | Service for assistance in O&M of GT and STG and F&S .
266 | Services | Service for HGPI of Gas Turbine Unit#2
267 | Services | Service ofCIBI of U# 1
268 | Services | Servicing of Air washer unit
269 | Services | Service Assistance work for STG
270 | Services | Service assistance of DM plant
271 | Services | Service assistanc e in EC&I works
272 | Services | Envioronment Audit
273 | Services | overhauling of Transformer
274 | Services | Inspection of VFD panel
275 | Services | Inspection of battery chargers
276 | Services | inspection & Services of UPS
277 | Services | inspection & Services of DCS
278 | Products | Rewinding of Generator Rotor
279 | Products | Rewinding of Generator stator
280 | Products | Calibration of Various Field instruments And energy meters
281 | Services | AMC of various A.C
282 | Services | Service assistance of Electrical equipments
283 | Services | Technical assistance
284 | Products | Procurement of Radiator Cooler pump motor
285 | Products | procurement of Turbine oil
286 | Products | Procurement of spares for Alfa level centrifuse
287 | Services | Painting of Pipe racks and pipes
288 | Products | Procurement of iinlet Air filter element
289 | Services | Servicing of EOT /Hydra crane
290 | Services | Repairing of pumps & motors
291 | Products | Load test of EOT crane &lifting tools and pressure vessels
292 | Services | servicing of HRSG steam line valves including pipe rack valve etc
293 | Services | Miscellineous & Emergency service
294 | Services | Disposal of waste
295 | Products | Office Stationaries
296 | Products | NEEPCO Sign Board for New Office
297 | Products | Computer peripherials
298 | Products | Materials for Santitization
299 | Products | Laptop/ Desktop
300 | Products | Misc Items for Guest House
301 | Services | AMC for air conditioner of guest house
302 | Services | AMC for computer peripherials
303 | Services | AMC for EPABX (Panasonic KX-NS 300) - 2 Nos
304 | Services | House keeping of Office
305 | Services | Security service of office
306 | Products | Internet leased line M/s Shyam Spectra Pvt Ltd
307 | Services | AMC 10KVA Online UPS
308 | Services | AMC for Servo make voltage stabilizer of 100 KVA capacity
309 | Services | House keeping and maintanance of Guest House
310 | Services | Security services of Guest House
311 | Products | Samsung HVAC System
312 | Services | Construction of New C-Type Quarter at Permanent Colony (2 block)
313 | Products | Replacement of Control Panel of Hydraulic Gates (Diversion Tunnel, Gantry Crane & Spillway Radial Gates)
314 | Services | Replacement of Wire Rope of Draft Tube gates, Intake Gates, Diversion Tunnel gates (Service &Emergency) & Spillway Radial Gates
315 | Services | Repairing of Existing Colony & Office Buildings
316 | Services | Jungle clearance and drain maintenance
317 | Services | Water Supply & Sanitatery Maintenance Works
318 | Services | Painting of Hydraulic Gates & Sructures
319 | Services | Construction of Dam Control Room
320 | Products | Lowering of Tail Race Channel
321 | Products | Replacement of Track Rack of Intake
322 | Services | Construction of Garage at Colony-III Store Compound & approach
323 | Products | Treatment of seepage water at U/S of PH at GT yard
324 | Products | Stengthening of Draft Tube gate
325 | Products | Replacement of rubber seal of intake gate
326 | Services | Fixing & Installation of ceramic tiles
327 | Services | Installation & Civil works for LED street light
328 | Products | SCADA
329 | Products | OPU pump (screw) 2 Nos. for oil p[ressure unit
330 | Products | Resonating Inductor for Tan-Delta measurementr of stator winding
331 | Products | NERLDC Payment against Transmission Charges
332 | Products | HSD
333 | Services | Services for Excitation System, Governing System, Protection System
334 | Products | Procurement of one (01) No. new 28.5 MVA 11/132 kV Generator Transformer
335 | Products | Relay Testing Kit
336 | Products | Procurement of PCs
337 | Products | Procurement of Laptop(s)
338 | Products | Procurement of Printer(s)
339 | Products | Procurement of Scaner(s)
340 | Products | Procurement of CCTV
341 | Products | Procurement of Core Switch & Manged Switch
342 | Products | Procurement of backhoe loader
343 | Products | Procerement of G.I. Pipes
344 | Products | Procurement of Ceramic Tiles
345 | Products | Procurement of Spare Motors for Gates
346 | Products | Procurement of Safety gears
347 | Products | Electrical Spares
348 | Products | Mechanical Spares
349 | Products | Procurement of Lubricants
350 | Products | Procuremetn of Special Tools & Tackles
351 | Products | Procurement of Diagonetic & Measuring Test Kits
352 | Products | Procurement of Fire Hydrant & Accessories
353 | Products | Procurement of Fire Extinguisers
354 | Products | Procurement of Medical Instrument
355 | Products | Procurment of Cardium compound
356 | Products | Procurement of LED street light
357 | Products | Procurement of Electrical consumable Item
358 | Products | Procurement of office Stationary
359 | Products | Cooling water pipe line replacement with MS Pipes
360 | Products | Procurement of Hardware Materials
361 | Products | Procurement of Automated External Defibrillaotor(AED) Machine
362 | Products | Procurement of 12 Lead ECG Machine
363 | Products | Procurement of Patient Examintation Bed
364 | Products | Procurement of UPVC Pipes
365 | Products | Networking and OFC
366 | Products | Overhauling of 132/33 kV Isolator & Earth Switch
367 | Products | Insurance of Fire & Burglery of Powerhouse Stores
368 | Services | Servicing of 11 KV Distribution panel
369 | Products | Upgradation of Smoke Detector System
370 | Products | Procurement of Office Furnishing
371 | Products | Split AC(1.5Ton/2Ton)
372 | Products | Cassette AC(3Ton)
373 | Products | LED Bulb(Tube Type)- 10Watt/12Watt/18Watt
374 | Products | Wall Mounting/Ceiling High Speed Fan(40 Watts)
375 | Services | AMC of Elevators
376 | Services | AMC of 320KV Cummins DG Set
377 | Services | AMC of Split AC
378 | Products | VC System
379 | Products | Laptop
380 | Products | Desktop
381 | Products | Printer
382 | Products | Scanner
383 | Products | Network Device
384 | Products | IT Consumables
385 | Services | AMC of PC, Printer, Scanner etc.
386 | Services | AMC of LAN
387 | Services | AMC of HP Server
388 | Services | AMC of UPS
389 | Services | AMC of Lipi Printer
390 | Services | Insurance of IT Equipements
391 | Services | Repairing/Dehydration of 1000 KVA transformer
392 | Services | Installation of HT Cables
393 | Services | Repair & Maintenance works such as paintings,wood works,iron works changing of glass panes,cement works,ceiling works etc. etc.
394 | Services | Renovation/modification of front boundary wall by providing granite tiles,iron grills,double leaf gates etc
395 | Products | Carpeting,office furnishing,vertical blinds etc
396 | Services | Construction of Security Barrack at NEEPCO Township, Mawdiangdiang, Shillong.
397 | Products | Procurement of consumable electrical materials
398 | Products | Procurement of water supply and sanitary materials
399 | Services | AMC Electrical installation
400 | Services | AMC of Water Supply & Sanitation system
401 | Services | Hiring of Vehicle Charge
402 | Products | Procurement of Electrical items
403 | Products | Procurement of water supply and Sanitary materials
404 | Services | Reparing works of NEEPCO Building, Kolkata
405 | Products | Air Conditioner Split , Capacity -2 Ton
406 | Products | Air Conditioner Window , Capacity -1.5 Ton
407 | Products | Water Purifier
408 | Products | Queen size Double Bed
409 | Products | King size Double Bed
410 | Products | Matress
411 | Products | Writing Table
412 | Products | Dressing Table
413 | Products | Wooden Almirah
414 | Products | Hot water Electric Kettle
415 | Services | AMC Air conditioners
416 | Products | Enagement of Vehicle
417 | Services | Construction of Chain link fencing at Transit Camp, New Melling village
418 | Services | Cross sectional survey of river Mago chu at AWLR station
419 | Services | Internal electrification of Transit Camp
420 | Products | Miscelaneous Guest House items such as Curtains, carpets, Electric kettle, Towels etc.
421 | Services | Service contract for cleaning & maintenance of Office Camp of New Melling HEP, NEEPCO, Jang
422 | Services | Supply and installation of VSAT
423 | Products | Miscelaneous office items such as Firewoods, curtains, Electric kettle, stationeries etc. for office
424 | Products | Miscelaneous Guest House items such as Bukhari, Firewoods etc.
425 | Services | Service contract for operation of Transit Camp & its mess under New Melling HEP, NEEPCO, Jang by supply of 02 nos. of un- skilled man-power.
426 | Services | Service contract for maintaining of office documents under New Melling HEP, NEEPCO, Jang by supply of 01 number of skilled man- power.
427 | Products | Office Consumable Materials
428 | Services | RCE vetting of HEPs through CERC empanelled consultant
429 | Services | Engagment of consultant for Due diligence study of HE Projects
430 | Services | Engagment of experts for review of technical and financial aspects of HE Projects
431 | Services | Construction of Senior Executive Transit Camp at Ward No. 2, Railway Station Road, Tezpur.
432 | Services | Renovation of Board cum Conference Hall in the 1st Floor of NEEPCO Bhawan, Guwahati, Assam.
433 | Services | Renovation of Floor and walls, fixing of False Ceiling of Ground Floor corridors in NEEPCO Bhawan, Guwahati.
434 | Services | Renovation at NEEPCO Bhawan, Guwahati, Assam.
435 | Services | Construction of Permanent Buildings/Labour Barracks/Field Hostel
436 | Products | CIVIL R&M Works
437 | Services | Const. of Roads & Footpath
438 | Services | Up keeping works of the Plant, vatruious installations including Offices/ Wings
439 | Services | Protection works in Tunnel Intake & Downstream of Dam
440 | Products | Related Civil works for 400 kV Bus reactor
441 | Products | Automation of Fire Fighting System of PH
442 | Services | Repairing of Turbine Runner
443 | Services | Repairing of 50 Ton Mobile crane
444 | Products | Replacement of Metal duct for ventilation system
445 | Products | Replacement of Metal duct for LT Bus
446 | Products | Rectification, Realignment, Rearrangement of VRF AC System of Both Bank
447 | Services | Repairing of old Labyrinth,maintenance seal and service seal
448 | Products | Retrofitting of Brake & Jack System
449 | Products | Retrofitting of MIV Control Cabinet
450 | Products | Retrofitting of 132KV Isolator with Earth Switch
451 | Products | Replacement of Radiator assembly & Gasket of 50 MVAR Shunt Reactor
452 | Products | Replacement of LT Bus at Power House
453 | Products | Retrofitting of aeration pipe,Supply and erection commissioning
454 | Products | Operation and day to day mainteance of DG Sets
455 | Products | Realignment Works of HT/LT lines
456 | Products | Internal Electrification works of Residentails/ Non-residential buildings
457 | Products | Jungle cutting works of HT/LT Lines & Switcjhyards/ Substations
458 | Products | Procurement of spare Guide Bearing, DTT & RTD, Air Guides, Vapour seal arrangement, High pressure hose pipe, NRV, Springs etc.
459 | Products | Procurement of spares for DVR like - Electronics Modules, Relays, Control Transformer, Thyristor, Circuit Breaker and repair of Electronics Module etc.
460 | Products | Procurement of spares for Excitation Transformer and LAVT cubicals like- Surge Arrestors, Voltage Transformer, Limit Switch, PT fuse,carbon brush,plug in type relays etc.
461 | Products | Procurement of spares for Bus Duct like - Bus Duct insulators, Cushion Rubber, nut & screws etc.
462 | Products | Procurement of spares for Pro control process system, Data acquisition, Event recorder, Input-Output device,Auto sequencer equipment,plug in type relay etc.
463 | Products | Procurement of spares for DC system of Ranganadi H.E. Plant like - Cell, Sulphuric Acid, Terminals, DCDB spares, Battery charger spares
464 | Products | Procurement of relays for C&R panel.
465 | Products | Procurement of Universal Rotor Pole and Field winding assembly
466 | Products | Procurement of spare Hydraulic Oil for 400kV Circuit Breaker.
467 | Products | Procurement of spare SF6 Gas for Circuit Breaker.
468 | Products | Procurement of spare LA, Surge counter etc. of 400KV
469 | Products | Procurement of spare items for Isolator like - Male-Female contact, Auxilliary switches, Driving gear mechanism, Motors, Limit Switches, Overload Relays, MCBs, DBs etc of 400 KV .
470 | Products | Procurement of spare CTs/PTs of 400Kv
471 | Products | Procurement of spare Electrical items for 132KV & 400 KV switchyard
472 | Products | Procurement of spare LA, Surge counter etc. of 132 Kv
473 | Products | Procurement of spare CTs/PTs. Of 132KV
474 | Products | Procurement of Spares for 53 MVA GT
475 | Products | Transformer Oil for 53 MVA GT
476 | Products | Procurement of spare Bushing for 53 MVA Generator Transformer
477 | Products | Procurement of Spares for Auto Transformer
478 | Products | Procurement of spare LV/HV Bushing for Auto Transformer
479 | Products | Transformer Oil for Auto transformer & Reactor
480 | Products | Procurement of Turret CT for 53 MVA Generator Transformer
481 | Products | Procurement of Coolers for 53 MVA Generator Transformer
482 | Products | Spares for Reactor
483 | Products | Spares for SST
484 | Products | Procurement of Bushing for SST
485 | Products | Procurement of Flow Meters for Cooling water system of Ranganadi Power House
486 | Products | Procurement of stator Bars
487 | Products | Procurement of spares for HMC system of Ranganadi Hydro Electric Plant.
488 | Products | Procurement of Spares of EHG system for FGMO mode of Ranganadi H.E. Plant and spares.
489 | Products | Procurement of spares and consumables for On-Line Filter machine of Ranganadi H.E. Plant.
490 | Products | Procurement of spares for Guide Apparatus like - Shear Pin, Lead cushion, split dowels and dowels etc. for Ranganadi H.E. Plant.
491 | Products | Procurement of spares of GV Servo Motors like - Niddle, Air Relase screw, Gland Ring, Piston Ring, Cushioning Box, Chevron Packing, Cushioning collar, Front Bush, Rear Bush etc.
492 | Products | Procurement spares for Air Compressor unit like- Distance Bush, Oil seal, Fan Pulley, Cylinders, Bulbs, Breathers, Air Filters, Piston Rings, Gudgeon Pin, Circlip etc.
493 | Products | Procurement of spares for Drainage & Dewatering Pump Motor like- Discharge case bearing, Pump shaft coupling, Ball bearing, Bowl Rubber Bearing, Lock collet, Shaft Sleeve, Shaft, Top Shaft etc.
494 | Services | Procurement of Service Seal Valve
495 | Products | Procurement of Turbine Oil
496 | Products | Procurement of spares for vertical Pump Motor for garden side of Power House.
497 | Products | Procurement of spares for Electric overhead Travelling Crane like - Brake,D.C. coil, etc.
498 | Products | Procurement of spares & consumables for DG set like - Lub oil, Filter element etc.
499 | Products | Procurement of Spares for UAB/SSB
500 | Products | Procurement of pentograph isolator of 400 KV
501 | Products | Procurement of VT 33 KK
502 | Products | Procurement of Automatic Weather Stations
503 | Services | AMC of Canon make Photocopy machines of Panyor Lower Hydro Power Station, A.P.
504 | Services | AMC of Samsung make VRF Based Air Conditioning system of Dikrong Power House, PLHPS.
505 | Services | AMC of Circuit Breaker Operational Analyser HISAC Ultima & Ultima DCRM, LA Anaylser, DC earth Fault Tester of Dikrong Power House, PLHPS.
506 | Services | AMC for Accord make Digital EPABX system (Model ADX-600) of Ranganadi H.P. Station, NEEPCO Ltd.
507 | Services | AMC of OTIS make Freight Elevator, Model No. NJ-5520 of Ranganadi H.E. Plant, NEEPCO Ltd.
508 | Services | AMC for 22V Battery Bank of Ranganadi H.E. Plant.
509 | Services | AMC of Electrostatic Liquid Cleaner & Low Vaccum Dehydration Unit of Dikrong Power House, PLHPS.
510 | Services | AMC for Logic Plus Plus make Online Vibration Monitoring system (VMS 500) of PLHPS.
511 | Services | AMC of GE Kelman(UK) make Dissolved Gas Analyser (DGA), Model No. TRANSPORT X of Dikrong Power House, PLHPS
512 | Services | AMC for ABB make Procontrol P-13 system of PLHPS, NEEPCO Ltd.
513 | Services | AMC for Megger make Testing Instruments of PLHPS,NEEPCO Ltd.
514 | Services | Statutory Testing/Inspection and Certifiation of equipment and Tools & Tackles of Dikrong Power House, PLHPS.
515 | Services | AMC of DG Set
516 | Services | AMC of EHGC,HMC,DVR
517 | Services | AMC for Aquaguard Filter Machine
518 | Services | AMC for Split, Window Type AC System
519 | Services | AMC for AWS installled in Catchment area of PLHPS
520 | Products | Procurement of Electrical Consumables
521 | Products | Retrofitting of 33 KV Circuit Breaker of PH
522 | Products | Retrofitting of 400Kv Circuitbreaker
523 | Products | Procurement of CT Analyser
524 | Products | Procurement of pipes for Oil & water line of Power House.
525 | Products | Procurement of Luminairies & Spares
526 | Products | Mechanical Measurement Instrument (e.g. screw Gauge, Verniar callipar, Micro Meter, Dial Gauge etc)
527 | Products | Electrical Measurement Instrument (e.g. Multimeter, Clampmeter, Insulation Tester, Handheld MRI)
528 | Products | Procurement of Consumable items for Day to Day Maintenance & APM Works of PH
529 | Products | Procurement of GT Butterfly Valve
530 | Products | Procurement of 11/.4 kV, 630 kVA Distraibution Transformers
531 | Products | Procurement of Water supply & Sanitary materials
532 | Products | Procurement of Office Furniture & Fixtures
533 | Products | Procurement of IT peripherals
534 | Services | Supply, Installation and commissioning of CCTV system
535 | Services | Supply, Installation and commissioning of 220 V DCDB for 400 kV bus Reator
536 | Products | Procurement of Electrical Luminaries
537 | Products | Procurement of Line Materials
538 | Products | AOMC Contract of PH
539 | Products | AOMC of Dam
540 | Products | Procurement of Digital Water Level Recorder
541 | Services | Repairing of departmental Vehicles
542 | Products | Hiring of Ambulances and Truck
543 | Services | Internal Raod within project area
544 | Services | Construction of office Building
545 | Services | Construction of guest houseBuilding
546 | Services | Construction of Residential Building
547 | Services | Construction of Colony water supply system
548 | Services | Construction of Diversion Tunnel
549 | Products | Procurment of DG set 500 KW for Diversion tunnel
550 | Products | Procurment of DG set 250 KW for Colony
551 | Products | Procurment of steel material, 6 mm 8 mm, 10mm, 12mm, 16mm, RS Joist Channel etc
552 | Products | Procurment of steel Cement
553 | Products | Procurment of Pipe and water suply fitting etc
554 | Services | Construction of 33 Kv line from Kamba To Tato for construction power
555 | Products | Split AC(1.5Ton/2Ton)
556 | Products | LED Bulb(Tube Type)- 10Watt/12Watt/18Watt
557 | Products | Wall Mounting/Ceiling High Speed Fan(40 Watts)
558 | Products | Room Heater Gryger, other heating equepment
559 | Services | AMC of DG Set
560 | Services | AMC of Split AC
561 | Products | Manpower requirement (Skilled/ Unskilled) for Operation of DG Set/ Pump. ( Skilled -4Nos Unskilled -4Nos)
562 | Products | Manpower Requirement for House Keeping of NEEPCO Guest house office and trnsit camp. (Skilled- 4Nos Unskilled - 8Nos)
563 | Services | Construction of B-Type Residential Quarter
564 | Services | Construction of NRC
565 | Services | Construction of Field Hostel
566 | Services | Repairing of Roads inside Plant and Colony Area
567 | Services | Painting of Pipe Racks (Phase-1)
568 | Services | Cleaning of Sludge inside Plant Structures during MI Shutdown (Clarified Fire Water Reservoir, CW Pump House, Cooling Basin and intake)
569 | Products | Demarcation of Intake Water Pipeline
570 | Services | Repairing of Colony Quarters
571 | Services | Cleaning of scrap storage areas inside plant and colony
572 | Services | Installation of Ceiling at Solar Main Control Room
573 | Services | Repairing and fixing of Glass Panels
574 | Services | Construction of Toilet near Fire Tender
575 | Products | Covering of Cable Trench inside Plant
576 | Services | Drain Repairing works inside DM Plant
577 | Services | Construction of viewpoint at Solar Periphery
578 | Products | Applying FRP at DM Plant Acid Tank
579 | Services | Repairing and fixing of various Foot Tracks inside Plant area
580 | Services | Construction and erection of Temporary Shed inside Plant area for MM
581 | Services | Construction of Mechanical Workshop inside Plant Area
582 | Services | Construction of Motor Cycle Shed near Executive Hostel
583 | Products | GTG LGB SSS Clutch 65T LH, GTG LGB Oil Seals HS, GTG LGB Oil Seals LH, Hydraulic Jack
584 | Products | Spares for STG Cooling Tower
585 | Products | Testing Instruments Like Cable Fault Detector, Temperature Calibrator, Multimeter, processmeter, LEL Gas Detector, Chlorine Gas Detector, Micro-Ohm Meter, Hart Calibrator etc
586 | Products | Procurement of tools (Hydrulic crimping tool, telescopic earthing rods,ratchet spanners, material handling trolly, platform ladder etc.)
587 | Products | Procurment of transformer oil
588 | Products | Transformer Oil Tank for storage of oil of capacity 30kL
589 | Products | Procurement of DCS and AVR cards/ module
590 | Products | Spare coils of inlet filter pulse cleaning system solenoids
591 | Products | C&I instrument spares (transmitters , gauges etc) for BOP areas
592 | Products | Copper cable (50sq mm/25 sq mm, multistrand flexible, FRLS, 1100 V, Red/Yellow/Black/Blue)
593 | Products | Spares for PMCC and MCC panels (Transducers, Contactors, CTs, syncronising realy, TBs, Selector switches, indicator lamps etc)
594 | Products | Spare for LT air circuit breakers(C&S, ABB, L&T,Crompton Greavs)
595 | Products | Spare solenoid valves, gauges, limit switches, actuators, PH and conductivity transmitter and sensors, electrical panel spares etc. for DM plant , PT plant, ETP
596 | Products | C&I spares for IAPA plant
597 | Products | Illumination system spares (Balast 400W/150W, igniter, holders, day light sensors switches, fuse, contactors, RCCBs, MCB etc.)
598 | Products | Procurment of protection relays (Generator relay panel, Busbar protection panel, Feeder protection panel etc.)
599 | Products | Modification of HMI system of DCS from XP based to upgraded version
600 | Products | Spares of battery chargers
601 | Products | Procurement for spares for generator control panels for STG and GTG (Syncronising relays, temperature scanner, syncroscope,annauciator spares, fuses, indicator lamps, trip circuit unhealthy relay, switches, transducers etc.)
602 | Products | Electrical spares for intake pump house & 11 KV substation (11 KV LAs, Contactors/relays, Transducers, meters, jointing kits, pin insulators, disc insulators, barrel fuse, etc.)
603 | Products | GT inlet air filters
604 | Products | Procurement of ceiling fan/exhaust fan
605 | Products | Illumination and associated spares (LED bulbs, tube, holders etc)
606 | Products | Procurement consumable & Tools required for utility works (Crimping tools, drill bit, spanners, testers etc )
607 | Products | Expenditure against electrical items for colony, guest house , Hostels, NRC etc (Capacitors, MCCB, RCCB,Switches,modular fan regulators, sockets, calling bell etc)
608 | Products | Chemical earthing and treatment of the earthing pit at non plant areas
609 | Products | Procument of 11KV Aerial Bunch cable for intake line (3CX70Sqmm)- 1.5km
610 | Products | Fire Extinguisher refilling
611 | Products | Electrical Flashover protection suit, gloves, shoes, helmet etc
612 | Products | Bulk chemicals (Non Ferric Alum)
613 | Products | Trisodium Phosphate (TSP)
614 | Products | Sodium Hydrooxide flakes
615 | Products | Spares for PT plant dosing pumps
616 | Products | DM Plant spares
617 | Products | Procurement of Expansion joint of GT Exhaust Duct
618 | Products | Spare parts for chlorination system
619 | Products | Sludge water pump and HRSG blowdown pit pump
620 | Products | STG Cooling tower gear box
621 | Products | Spare parts for air compressor
622 | Products | Oil centrifuge unit
623 | Products | Procurement of Horticulture and Landscaping Equipments
624 | Products | Water Supply Materials
625 | Services | Repairing service for DCS/DAVR/GTC cards
626 | Products | Operation of Fire Tender & Fire Fighting system
627 | Services | Servcing of Control room elevator under AMC
628 | Services | Contract for manpower of Utility services
629 | Products | Contract for manpower of 5MW Solar Plant
630 | Services | Energy audit services under PAT
631 | Products | Third party safety audit
632 | Services | Servcing of 11 KV circuit breakers , protection panel at 11 KV substation
633 | Products | Statutory environment monitoring and testing
634 | Products | Pest and Rodent Control
635 | Products | Emergency procurement ( nut, bolt, gasket, bearing, electrical items etc)
636 | Products | Procurement through LPC
637 | Products | Maintenance Works under Civil, Plumbing, Water Supply, Jungle Cutting
638 | Products | Development of Landscaping and Hortilculture
639 | Services | Repairing and rewinding of motors, drives etc.
640 | Services | Repairing and servicing of the Honda make Gen set for non plant area
641 | Products | Hydro test and miscellaneous plant maintenance works
642 | Products | Misc machining works
643 | Services | Construction of RCC Fire Walll and Laying of Rail for Spare Service Station Transformer
644 | Services | Painting of Outside Face of Power House
645 | Services | Painting of Switchyard Control Room (Outside Face), Fencing & Gate
646 | Services | Painting of Dam (Control Room, Power Pack Room, SMR Room, Wave Wall, RCC Railing etc.)
647 | Products | Vehicle Shade for Departmental Equipment (Inside Petrol Pump Station)
648 | Products | Vehicle Shade for Fire Tender (At Power House)
649 | Services | Cleaning of Plant Area (Jungle Cleaning and Drain Cleaning of Dam, Power House, Switchyard, Intake and Plant Area)
650 | Services | Miscellaneous Repairing Works of Building
651 | Products | Spares for Governor
652 | Products | HMI & Networking Spares
653 | Products | Generator Spares
654 | Products | Spare for SEE & AVR
655 | Products | Control & Instrumentation System Spares
656 | Products | Spares for Synchronising System
657 | Products | Generator Transformer Spares & Consumables
658 | Products | Spares for 33KV System
659 | Products | GPS System Spares
660 | Products | 132KV Outdoor Switchyard Spares
661 | Products | EOT Crane (170/20T) Spares
662 | Products | Diesel Generating Set Spares & Consumables
663 | Products | PLCC Spares
664 | Products | DC System (Battery & Battery Charger)
665 | Products | UPS System
666 | Services | AMC & Other Services
667 | Products | Turbine Spares
668 | Products | Spares for Pressure Oil System
669 | Products | HP Lub Oil System Spares
670 | Products | Cooling Water System Spares
671 | Products | Drainage & Dewatering System Spares
672 | Products | LP Compressed Air System Spares
673 | Products | Oil Purification System Spares
674 | Products | Ventilation & AC System Spares
675 | Products | Protection System Spares
676 | Services | Station Service Transformer Spares & Consumables
677 | Products | Fire Fighting Equipment Spares
678 | Products | 415V LT AC Switchgear System Spares
679 | Products | Consumables for Maintenance
680 | Products | Tools, Instruments, Tackles
681 | Products | Paint for Hydro Mechanical Structures
682 | Products | Paint for Colony Maintenance
683 | Products | Procurement of Automatic Weather Station fot THPS site
684 | Products | Pipe, Fittings, Storage Tank, Tools & Teckles etc. for Water Supply System
685 | Products | O&M of Power House & Switchyard
686 | Services | AMC for Dam Instrumentation System
687 | Services | Cleaning, sweeping, mopping including cooking and other kitchen works of Transit Camp at Thieddieng village under Wah Umiam Stage-III HEP.
688 | Services | Performing day to day works viz, cleaning, sweeping, mopping of the Office and other work of the messenger under the O/o HoP, Wah Umiam Stage-III HEP, Mawsynram.
689 | Products | Collection of river discharge data under Wah Umiam Stage-III HEP (42.50 MW x 2)
690 | Products | Sweeping, mopping & maintenance of Transit Camp including cooking and other kitchen works at Transit Camp, Mawsynram village under Wah Umiam Stage-III HEP.
691 | Products | Hiring charge of vehicle No. ML-05AA 4224, Mahindra Thar
692 | Products | Hiring charge of vehicle No. ML-05Z 4224, Mahindra Bolero
693 | Services | Hiring of building Transit Camp and for O/o HoP
694 | Products | Hiring of security building at Transit camp and for O/o HoP, wah Umiam Stage-III, Mawsynram, Meghalaya.
695 | Products | Hiring of Transit Camp at Thieddieng Village against Wah Umiam Stage-III HEP.
696 | Products | Hiring of building at Mawsynram for keeping the core box.
697 | Products | Procurement of Lab chemicals
698 | Products | Water supply fittings and accessories